
Attachment 3:

Green Physical Condition Assessment Statement of Work and Contractor Qualifications
Overview:

The Green Physical Condition Assessment (GPCA) report has three parts:

Part 1: PCA Report Comparing Traditional and Green Requirements – It is the traditional PCA that identifies repairs necessary in the first year following restructuring and the repairs and replacements during the next 20 years; it estimates costs using both “traditional” and “green” principles; and it provides comments on the benefits (financial and otherwise) of the green alternative.

Part 2: Energy Audit – It documents prudent energy-related improvements to the property, the cost of the improvements, and a simple financial payback analysis.
Part 3: Integrated Pest Management Plan Inspection – The inspection may reveal the need for additional repairs and/or site changes that are to be included in the first year rehabilitation needs.  It is also required for development of the IPM Plan, a required component of the Green Operating & Maintenance Plan, which is required in the Green Initiative.

The Green PCA Contractor may complete any of the components for which it has the necessary qualifications; otherwise, the contractor may subcontract to others who have the necessary qualifications.

PART 1.  GPCA  REPORT COMPARING TRADITIONAL AND GREEN REQUIREMENTS
1.  Qualifications:  The contractor must
A. Be trained to evaluate building systems, health, and safety conditions, and physical and structural conditions, and to provide cost estimates for maintaining, rehabilitating, or improving deficiencies, using both traditional and Green principles. Must also have environmental expertise, as inspection will include environmental issues as well. Must have any required licenses.

B. Have the designation of Leadership in Energy and Environmental Design Accredited Professional (LEED AP), in either the United States Green Building Council’s LEED New Construction and Major Renovation or the LEED Existing Building Maintenance and Operations examination tracks, or an equivalent designation (or is pursuing that designation and will have it no later than January 1, 2008).
C. Complete 10-hours of education annually, beginning in calendar year 2008, in the areas Green Building, Sustainability, Energy Efficiency, or Indoor Air Quality.  

D. Have acceptably completed written evaluation reports for similar types of multifamily rental housing projects in similar physical condition and age in the subject market or in similar areas, preferably including two (2) or more buildings that were receiving Section 8 or some other type of housing assistance when the report was prepared.

E. Not be under suspension or debarment by HUD, or involved as a defendant in criminal or civil action with HUD.

F. Produce reports that are well regarded in the marketplace in terms of content, timeliness and responsiveness. The contractor should have this personal experience, not just the company.  

G. Have the capacity to complete the project inspection and prepare the report in a time frame acceptable to the Participating Administrative Entity (PAE).
2.  Statement of Work: The contractor shall 

A. Perform a Physical Condition Assessment (PCA) for each asset specified by the PAE and report the findings.
(i) The report shall be prepared according to the Fannie Mae document: “Physical Needs Assessment Guidance to the Property Evaluator” (Attachment A), except as modified herein.

(ii) The report shall include color photographs and a detailed narrative describing the property’s exterior and interior physical elements and condition, including architectural and structural components, and mechanical systems.

(iii) The Inspector will consult HUD Asset Management, Real Estate Assessment Center (REAC) and mortgagee (if available) files.
(iv) The Contractor shall conduct site inspections of a minimum of 25% of all units.  Units shall be randomly sampled while taking into consideration occupied and unoccupied units and the unit size mix, i.e. one bedrooms, two-bedrooms, etc. If a significant number of units are found to be in poor condition, the PAE may require that additional units be inspected.  The Contractor may also determine that additional units and/or common areas require inspection to fully achieve the objective of considering green building principles, and if so, must coordinate the parameters of the inspection with the PAE.

(v) The report shall include:

a. Critical items: Identify in detail, and report immediately to property management and the PAE, any repair item(s) that represents an immediate threat to health and safety.

b. Repair/Rehab items (Short Term Physical Needs): Identify and estimate the cost of the repairs, replacements, and significant deferred and other maintenance items that will need to be addressed within 12 months of closing (do not include items that are not broken but may need replacement in the near future).

c. Market Comparable Improvements: After discussion with the PAE and the PAE’s appraiser, the inspector may include repairs or improvements that are necessary for marketability in the list of Repair/Rehab needs. The repairs/improvements identified should be those necessary for the project to retain its original market position as an affordable project in a decent, safe and sanitary condition (recognizing any evolution of standards appropriate for such a project). The project should be able to compete in the non-subsidized market on the basis of rents rather than amenities. Where a range of options exists, the least costly options for repair or rehabilitation should be chosen, when both capital and operating costs are taken into consideration.

d. Long-term Physical Needs/Reserve Items: Identify and provide an estimate of the major maintenance and replacement items that are required to maintain the project’s physical integrity over the next twenty (20) years. (Note that the Fannie Mae Guidance to the Property Evaluator only requires an 18-year assessment maximum).

e. Environmental Concerns: The report shall provide a description of directly observed potential on-site environmental hazards and include a completed Environmental Restrictions Checklist (Form 4.4).

f. Green Building Principles:  An objective of the report is to identify all opportunities to improve energy efficiency, maximize water efficiency, use re-used and recycled materials where practical, safeguard the indoor environmental quality of the property, and remove/ re-use replaced materials and construction debris appropriately.  The items identified in the Green PCA Addendum should be specifically considered, but the Contractor is required to look beyond those items and identify any other opportunities to achieve the stated objective. The Contractor is expected to consider the most promising types of improvements being used generally in green buildings, to identify all alternatives considered, to provide a justification for the green alternative recommended and a brief explanation of why the non-selected alternatives are less appropriate for the subject property.  As noted in the Green PCA Addendum, each line item must identify the:

(1) costs of the traditional repair/replacement and the alternative using green building principles, without consideration for the $10,000 threshold identified in paragraph 1.g below; 

(2) cost difference between the traditional and green approaches, expressed in both dollars and as a percentage;

(3) category of expected benefits, i.e., Energy, Water, Health, Environment; and

(4) expected benefits of the green alternative, both financial and otherwise.

(vi) The report shall identify any physical deficiencies as a result of: 

a. a visual survey;

b. a review of any pertinent documentation; and
c. interviews with the property owner, management staff, tenants, interested local community groups and government officials, to the extent possible.
(vii) The report shall provide a cost-benefit analysis of any individual repair or improvement costing more than $10,000 per work item that represents an upgrade to current elements or that could be considered to reduce the operating expenses. (For example, individual utility metering, extra insulation, thermopane windows, water savers on showers and toilets, automatic setback thermostats, and durable siding.) Compare the cost of the item with the long-term impact on rent and expenses, taking into account the remaining useful life of building systems, as needed.  The Contractor should coordinate with the underwriter and appraiser on this analysis, as needed. (Note: This analysis does not apply to items proposed to address accessibility issues, discussed below.)

(viii) The report shall explain how the project will meet the requirements for accessibility to persons with disabilities, to the extent applicable. (See Attachment B, Accessibility Law Compliance Chart, for specific guidance.) Paragraph 2-40 of HUD Handbook 4350.3 (change 24 issued 1-19-93) requires owners to develop a transition plan that identifies physical obstacles that limit accessibility and describes methods to make the project accessible. The contractor shall include items in the transition plan in the list of repairs.

(ix) The report shall show evidence that the Contractor used the Air Conditioning Contractors of America (ACCA) Manual J guide or another recognized methodology to size the recommended heating and cooling systems.  The sizing shall consider other energy-related improvements being made to the property, including additional insulation, energy-efficient windows, etc.  The PAE may request the Contractor prepare several calculations based on possible improvements or may contact the Contractor subsequent to the completion of the initial calculation and ask for a revision based on a specific set of improvements.
Exception: There is one exception to the requirement to complete a calculation to appropriately size the heating and cooling systems; that being when the existing units are already the smallest available and there are no known property management or tenant complaints indicating that the existing systems may be inadequate.  To justify this exception, the Contractor must inquire of the site property management and of any tenants encountered during the inspection of units, and not receive comments that would cause the Contractor to question the adequacy of the existing systems.
(x) The report shall show evidence that the contractor tested the ductwork for leakage and recommended and priced appropriate repairs to address any problems revealed in the testing.

(xi) If requested by the PAE, the contractor shall take part in discussions with the owner, tenants, or other interested parties, including neighborhood associations, members of local government, and representatives from the public housing authority, including attendance at a meeting to solicit oral and written comments to be incorporated into the GPCA.  The contractor shall assist the PAE in evaluating and responding to tenant and local community comments concerning the physical condition of the project and recommended repairs.

(xii) The contractor shall act as an independent third-party on behalf of the PAE to review the completeness and accuracy of any GPCA submitted by the owner.

(xiii) The contractor shall provide the PAE with weekly status reports (upon request) during the preparation phase to track and monitor the progress.

B. The GPCA report should also include the following subcomponents:

(i) Acknowledgements (who prepared report, when report was prepared, who received report, and when report was reviewed).

(ii) Appendices (color photographs, site plans, maps, etc.).

C. In addition, the contractor shall:

(i) Recommend any additional professional reports needed, for example, to determine the presence or degree of structural defects, or to complete additional investigation into an environmental issue.  The PAE will be responsible for obtaining such reports.

(ii) If the services of a subcontractor were secured to inspect the property and complete the report, the contractor shall review the inspection for quality, consistency, and agreed upon format and conformance with these requirements.

(iii) If requested by the PAE, attend a formal kick-off meeting to clarify the requirements and scope of the work to be performed.

3.  Deliverables

A. A draft report shall be submitted to the PAE for review prior to completion of the final report.

B. The final report shall be completed in the number of originals and copies requested by the PAE or its designee.

PART 2.  ENERGY AUDIT  
1.  Qualifications:  The contractor must:
A. Be certified to complete building energy audits by RESNET or BPI (or their training providers), or be a Certified Energy Manager (CEM), or be a State equivalent certified energy auditor, or be a professional architect, or be a registered professional engineer, or be a RESNET certified Home Energy Rater or BPI Certified Building Analyst.
B. Agree to pursue the American Society of Heating, Refrigerating and Air-Conditioning Engineers (ASHRAE) sustainability certification program, within 12 months of it being available.
C. Not be under suspension or debarment by HUD, or involved as a defendant in criminal or civil action with HUD.

D. Produce reports that are well regarded in the marketplace in terms of content, timeliness and responsiveness. The contractor should have this personal experience, not just the company.  

E. Have the capacity to complete the project inspection and prepare the report in a time frame acceptable to the Participating Administrative Entity (PAE).
2.  Statement of Work

A. An energy audit identifies how energy is used in a facility. 

(i) Data is collected on energy use and costs and a physical inspection of the property and energy-related equipment is performed. 

(ii) The physical inspection reviews equipment conditions, past maintenance schedules, remaining useful life, and system performance, along with building envelope characteristics and conditions. 

(iii) Physical inspection may also consider indicators of performance issues such as leaking or foiled heat exchangers, high humidity, poor space temperature control, and comfort concerns.

B. An energy audit analyzes utility costs of the existing property.  Utility data is trended and benchmarked against similar properties with like heating and cooling requirements, and used to provide estimates of energy savings that may be gained by implementing cost effective conservation measures. 

C. An energy audit provides a prioritized list of recommended cost-effective energy efficiency improvements to reduce energy costs. 

(i) Cost-effective energy efficiency improvements are energy measures whose estimated energy savings exceed the installed cost of the energy measure over the measure’s useful life. 

(ii) Recommendations are based on engineering and economic analysis and consider factors such as operating hours, equipment efficiency, and building and occupant energy demand characteristics. 

(iii) Costs are generally developed through industry norms or available historical project information. 

D. Unless prevented by physical obstructions, insulation in attics, walls, flooring and heating and cooling ducts should, at a minimum, be upgraded to current building code.  
E. In addition, the energy audit includes a recommendation on whether additional insulation, or caulking and sealing, is a cost-justified expenditure. 
F. An energy audit report includes the following:

(i) Current energy usage and costs (kilowatt-hour, therms, utility cost);
(ii) Description of metering of utilities, including number of meters for each source;

(iii) Prioritized list of recommended energy efficiency improvements;

(iv) Installed cost estimates for recommended energy efficiency measures;

(v) Expected useful life of recommended energy measures;

(vi) Annual energy saving estimates (consumption and cost reductions); 

(vii) Simple payback period in years for each recommended measures; and

(viii) Potential savings in water consumption expenses that are associated with energy improvements.

G. If requested by the PAE, the contractor shall take part in discussions with the owner, tenants, or other interested parties, including neighborhood associations, members of local government, and representatives from the public housing authority, including attendance at a meeting to solicit oral and written comments to be incorporated into the GPCA. The contractor shall assist the PAE in evaluating and responding to tenant and local community comments concerning the physical condition of the project and recommended repairs.

H. The contractor shall act as an independent third-party on behalf of the PAE to review the completeness and accuracy of any GPCA submitted by the owner.

I. The contractor shall provide the PAE with weekly status reports (upon request) during the preparation phase to track and monitor the progress.

J. The GPCA report should also include acknowledgments (who prepared report, when report was prepared, who received report and when report was reviewed).

K. In addition to the above, the contractor shall:

(i) Recommend any additional professional reports needed.  The PAE will be responsible for obtaining such reports.

(ii) If the services of a subcontractor were secured to perform the GPCA, the Contractor shall review the inspection for quality, consistency and agreed upon format and conformance with the report requirements.

(iii) If requested by the PAE, attend a formal kick-off meeting to clarify the requirements and scope of the work to be performed.

3.  Deliverables

A. A draft report shall be submitted to the PAE for review prior to completion of the final report.

B. The final report shall be completed in the number of originals and copies requested by the PAE or its designee.

PART 3.  INTEGRATED PEST MANAGEMENT INSPECTION  

1.  Qualifications: A contractor must
A. Be certified by QualityPro, GreenShield, or EcoWise.

B. Be trained to evaluate and treat the interior and exterior of multifamily structures for pest infestations, in accordance with Integrated Pest Management standards.  
C. Have the work performed by an individual who is licensed or certified by the state for residential pest control or be QualityPro certified and who has produced reports of this nature that are well regarded in the marketplace in terms of content, timeliness and responsiveness.
D. Not be under suspension or debarment by HUD, or involved as a defendant in criminal or civil action with HUD.

E. Have the capacity to complete the project inspection and prepare the report in a time frame acceptable to the Participating Administrative Entity (PAE).
2.  Statement of Work: A contractor shall
A. Perform an Integrated Pest Management Inspection (IPMI), provide the property manager and each tenant information on glue traps, and prepare an IPMI report for each asset specified by the PAE and report the findings.  Exhibit 1 is the form for reporting the glue trap findings and inspection results; Exhibit 2 is the more extensive form of reporting the existing pest control strategies and practices, noting deficiencies, and recording recommendations using IPM principles; and Exhibit 3 is the handout on glue traps to be shared with the property manager and all tenants.
B. [NOTE -  The following instructions assume the contractor will make two visits to the property: interviewing property management about existing pest control practices and placing the glue traps during the first visit, retrieving the glue traps and conducting the necessary unit and property inspections during the second visit. The PAE has the authority to modify the instructions to require only one visit by the Contractor in those situations where the PAE believes the onsite property management can place the glue traps correctly and provide the glue trap handout to the tenants.]
Conduct the first onsite visit/inspection to:
(i) Obtain an understanding of the configuration of buildings.

(ii) Obtain an understanding of the existing pest control practices.
(iii) Review the “Using Glue Traps” handout (Exhibit 3) with the property manager and provide it to each tenant or leave it in each unit where glue traps are placed.
(iv) Place the glue traps (to assess cockroach infestation) within each unit and common areas such as laundry rooms, storage rooms, and interior trash handling areas.
(v) Advise the property manager that the contractor will retrieve the glue traps and set a date certain for that follow-up visit/inspection.
C. Conduct the second onsite visit/inspection to:
(i) Collect the glue traps from each unit, observe conditions in the units, and include in the report a unit-by-unit summary of the glue trap findings.
(ii) Review the findings from the glue traps to help determine which units should be inspected.  The contractor then shall conduct site inspections of a minimum of 25% of all units.  Unless otherwise guided by the glue trap findings, units shall be randomly sampled while taking into consideration occupied and unoccupied units and the unit size mix, i.e. one bedroom, two-bedrooms, etc. If a significant number of units are found to have infestations not reflected in the glue trap findings, the PAE may require that additional units be inspected at the time the glue traps are collected.

(iii) Inspect the exterior of building(s) for all areas where the envelope has been penetrated and all points of ingress/egress, looking for any entry points for pests.  If identified, the contractor must determine all corrective measures, both immediately and long-term.  

(iv) Inspect the trash disposal, laundry and storage areas for evidence of infestations. 

D. Prepare a report according to the outline provided in Exhibit 1 to this Attachment 3, that:
(i) Identifies any pest infestations as a result of glue trap findings, a visual survey, a review of any pertinent documentation related to past infestations and pest control measures, or interviews with the property owner, management staff, and tenants.

(ii) Includes color photographs and a detailed narrative describing the property’s pest infestation, if any, and provide a corrective course of action for each infestation, and if needed, specific actions for serious infestations within individual units.

(iii) Includes a Glue Trap Summary, which identifies in detail the quantity and variety of pest trapped, and any obvious general areas/floors/structures with significant infestations (e.g., if a cluster of adjacent apartments appear to have a more severe infestation when compared to the overall building).   Identify groups of infested units as High, Moderate, or Low infestation and detail corrective measures for each.

(iv) Details an immediate course of action, which identifies and estimates the cost of the measures required to address the pest infestations for each identified group (see prior paragraph) and an continuing course of action for using IPM principles at the property. 

E. Prepare a report according to the outline provided in Exhibit 2 to this Attachment 3 that:
(i) Documents the existing pest control strategies, practices, and outcomes.
(ii) Evaluates the existing pest control strategies and practices.

(iii) Identifies the deficiencies in the existing pest control strategies and practices.

(iv) Recommends practices consistent with IPM principles that will achieve better outcomes.
F. If requested by the PAE, the contractor shall take part in discussions with the owner, tenants, or other interested parties, including neighborhood associations, members of local government, and representatives from the public housing authority, including attendance at a meeting to solicit oral and written comments to be incorporated into the GPCA.  The contractor shall assist the PAE in evaluating and responding to tenant and local community comments concerning the physical condition of the project and recommended repairs.
G. The contractor shall act as an independent third-party on behalf of the PAE to review the completeness and accuracy of any GPCA submitted by the owner.

H. The contractor shall provide the PAE with weekly status reports (upon request) during the preparation phase to track and monitor the progress.

I. The GPCA report should also include the following subcomponents:

(i) Acknowledgements (who conducted the inspection and prepared the reports, when report was prepared, who received report, and when report was reviewed).

(ii) Appendices (color photographs, site plans, maps, etc.).

J. In addition, the contractor shall:

(i) Recommend any additional professional reports needed, for example, to determine the presence or degree of structural defects, or to complete additional investigation into an environmental issue.  The PAE will be responsible for obtaining such reports.

(ii) If the services of a subcontractor were secured to inspect the property and complete the report, the contractor shall review the inspection for quality, consistency, and agreed upon format and conformance with these requirements.

(iii) If requested by the PAE, attend a formal kick-off meeting to clarify the requirements and scope of the work to be performed.

3.  Deliverables

A. A draft report shall be submitted to the PAE for review prior to completion of the final report.

B. The final report shall be completed in the number of originals and copies requested by the PAE or its designee.
Version 9, April 2008
Page 3-1
Version 9, April 2008
Page 3-11

